## Slide 1: Low cost imaging and image processing with the Raspberry Pi
Jamie Magee
Supervised by: Dr Alexandre Kabla

## Slide 2: Objectives
Provide access to optical flow methods on cheap and readily available hardware
Online and offline processing using the Raspberry Pi
Capture data using the Raspberry Pi Camera
Integrate with existing experiments and other OpenLabTools projects
Provide a clear set of instructions aimed at undergraduate level

## Slide 3: OpenCV & Raspberry Pi Camera
OpenCV is a free and open source library which provides easy access to many image processing and computer vision algorithms, including optical flow algorithms.
A precompiled binary does not exist for the Raspberry Pi, so it was necessary to compile it myself and write instructions on how to do so. The compilation time is around 10-12 hours depending on overclock.
The Raspberry Pi camera by default does not interface with the OS, so an extra driver (UV4l-raspi) was required as well.

## Slide 4: Optical Flow
I have considered three different algorithms:
Lucas-Kanade [Lucas, B. and Kanade, T., 1981]
Farnebäck [Farnebäck, G., 2003]
SimpleFlow [Tao, M., Bai, J., Kohli, P. and Paris, S., 2012]
Notes: L-K is sparse
Fb is dense
SF is semi-dense

## Slide 5: Lucas-Kanade
Assumes displacement is small and constant
Generalised to 2D:
These can be written in Matrix form where
F(x+d)-F(x)
d
F(x+d)
F(x)

## Slide 6: Lucas-Kanade
The system has more equations than unknowns, so it is usually over-determined
A solution can be found by least squares
Therefore

## Slide 7: Farnebäck
Each neighbourhood of pixels is approximated by a quadratic polynomial of the form:
In 1D
Consider the polynomial
Shifted by a global displacement d

## Slide 8: Farnebäck
Which yields
Therefore we can solve for the translation d, if A1 is non-singular

## Slide 9: SimpleFlow
A likelihood model is used, that is, we seek flow vectors (u,v) such that Ft(x,y) and Ft+1(x+u,y+v) are similar. This is modelled by the energy term:
The algorithm is a semi-dense optical flow method, in that it only runs a full flow estimation at a few key pixels, and linearly interpolates the rest of the flow.

## Slide 10: Output

## Slide 11: Output
Vectors are converted into polar coordinates and mapped to the HSV colour space as follows:
Hue = Angle
Saturation = 255
Value = Magnitude

## Slide 12: Comparison
Chart: Optical Flow Comparison
| 0.3MP | 0.7MP
Lucas-Kanade | 1.39 | 2.4
Farneback | 3.45 | 6.65
SimpleFlow | 418 | 718

## Slide 13: Improvements
Find the curl of the vector field
Find the divergence of the vector field
Optimise implementation for online processing with Raspberry Pi camera
Integrate with materials testing (1st year experiment)
Integrate with other OpenLabTools projects (Microscope)
Provide a GUI for immediate user feedback

## Slide 14: Questions?